ASHRAE Standard 90.1MR-P

Title: Standard for Minimum Energy Requirements for Low-Rise Residential Buildings

1. Purpose: The purpose of this standard is to provide cost-justified minimum requirements for the energy-efficient design and construction of new residential buildings three stories or less above grade and for major renovations to existing residential buildings three stories or less above grade, considering first costs, economic impacts, and expected energy savings. This standard is intended to include a performance and simple prescriptive path to achieve the objectives for a minimum standard which balances first cost and operational costs for an affordable housing solution.

2.	Scope:
2.1 		This standard applies to:
a. new residential buildings three stories or less above grade;
b. additions to residential buildings three stories or less above grade where new energy-related assemblies, systems, or equipment are installed; and
c. major renovations to existing residential buildings three stories or less above grade where the project includes substantial replacement, alteration, reconfiguration, or upgrade of energy-related assemblies, systems, or equipment.
2.2 	This standard provides cost-justified minimum requirements for the design, construction, installation, and replacement, as applicable, of:
a. building thermal envelope components;
b. air leakage control measures;
c. heating, ventilating, and air-conditioning systems;
d. service water-heating systems;
e. lighting systems;
f. controls associated with covered systems; and
g. other specifically identified energy-related residential building components and systems.
2.3 	This standard applies to detached single-family houses, detached two-family houses, townhouses, and other residential buildings three stories or less above grade, and to residential portions of mixed-use buildings within the height limitations of this standard.
2.4	This standard does not apply to:
a. transient lodging;
b. buildings more than three stories above grade;
c. nonresidential occupancies except residential portions of mixed-use buildings within the scope of this standard; or
d. ordinary maintenance and repair activities that do not materially affect building energy use.
2.5	This standard shall not be used to abridge safety, health, environmental, or other applicable code requirements.
