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This foreword is not part of this guideline. It is merely informative and does not contain requirements
necessary for conformance to the guideline.

FOREWORD	

This addendum updates the TPS to the Guideline. 

[Note to Reviewers: This addendum makes proposed changes to the current standard. These changes are indicated in the text by underlining (for additions) and strikethrough (for deletions) except where the reviewer instructions specifically describe some other means of showing the changes. Only these changes to the current standard are open for review and comment at this time. Additional material is provided for context only and is not open for comment except as it relates to the proposed changes.]

Addendum a to GDL 13-2024

Revise the title, purpose and scope as shown below.

Title: Specifying Building Automation Systems

Purpose: The purpose of this guideline is to provide recommendations for developing specifications for Bbuilding Aautomation Ssystems (BASs) in heating, ventilating, and air-conditioning (HVAC) control applications, and the integration of other building systems into a BAS.

Scope: 

This guideline coversoffers detailed instructions for specifying the following aspects of a building automation systems (BASs) for heating, ventilating, and air-conditioning:
(HVAC) control, monitoring, and management functions. The guideline specifies hardware performance,
installation, and training. It also addresses system architecture, input/output structure, communication, program
configuration, system testing, and documentation. The guideline only includes examples of how to
integrate with fire, life safety, lighting, and other systems. The design and specification of these non-HVAC
systems is not part of this document. There is also no specification of facility management functions, as this
is beyond the scope of this document.
a. Direct Digital Control (DDC) for HVAC equipment control, monitoring, and management functions
b. DDC hardware performance and installation
c. Cybersecurity of BAS operational technology
d. Operator interfaces
e. System training
f. System architecture
g. Input/output structures
h. Hardware and Software Communication Procedure 
i. Program configuration
j. System testing
k. Documentation
l. Integration with other building systems such as lighting, fire and life safety, security, and factory-installed equipment controls
m. Integration with other enterprise-level applications, such as facility management, preventive maintenance, or energy management systems.
The guideline does not include specifying control of fire or life safety systems or other non-HVAC BAS systems (e.g., security systems or other enterprise-level applications).
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